## Sheet1
Intensities	File	FormFactors_9.ods			From PC, edited by JN				12\01\17
This sheet reports details for fixed angle data. Summary is on sheet 4.
tiff num	39	40	41	42	43	44	45	46	47	48	49	50	51	52	λ [Å]	1.096
D	60.65	60.62	60.57	60.65	60.744	60.74	60.66	60.83	61.03	60.94	61.07	61.40	61.07	61.33	S1 [mm]	179.3	The D spacing measured using NFIT (locating the peaks of different orders).
h	3	2	2	2	1	1	4	5	5.5	7.5	7.5	9	10	10	px [mm]	0.07113	This line indicates h, so that h+1/2 is where the specular as aimed.
θh+1/2 th [deg]	1.812	1.295	1.296	1.294	0.775	0.775	2.330	2.840	3.088	4.126	4.117	4.864	5.407	5.383			Theoretical angle for h+1/2 using the D spacing, the wavelength of the xray.
y of h=0	79.3	79.4	79.6	80.4	80.2	78.3	80.6	80.5	81.4	81.0	81.2	81.1	77.8	81.2			The height in pixels of the beam. Note that it is not the midpoint of the peak as seen on the tiff (because the sample is blocking it). It is found by using NFIT, D spacing window, and trying out different heights for the “zeroth” order, until you find the one that keeps the original D spacing.
yh+1/2 th	238.9	193.4	193.7	194.4	148.4	146.5	286.0	331.2	354.2	446.5	445.9	513.2	559.2	560.5			Theoretical pixel height that the h+1/2 angle should hit.
yh+1/2 ex	235.0	189.4	189.9	198.1	144.2	146.2	283.9	328.0				516-521	561-565	564-568			Measured pixel height of the specular (when it can be seen on the tiff).
θactual [deg]	1.77	1.25	1.25	1.34	0.73	0.77	2.31	2.80						Actual angle aimed (angle that gives this “yh+1/2 ex”).
θmis [deg]	-0.044	-0.046	-0.043	0.042	-0.048	-0.003	-0.024	-0.036						Difference in angle between theoretical h+1/2 angle, and the and the
θnom [deg]	1.81	1.29	1.33	1.37	0.77	0.82	2.37	2.89	3.15	4.18	4.18	4.96	5.48	5.48			The nominal angle as written on the lab sheet, which the machine was set at (may have an offset)
θnom – θactual	0.042	0.041	0.077	0.033	0.043	0.048	0.064							0.050	θ offset	This line gives the angular difference between the nominal angle at which the machine was set and the actual angles measured on the tiff. Then the average is computed, which is the evaluated offset of the machine.
θmis 2 [deg]	-0.052	-0.055	-0.016	0.026	-0.055	-0.005	-0.010	0.000	0.012	0.005	0.014	0.046	0.024	0.047			This line gives an estimate for the angular difference between the theoretical h+1/2 angle and the angle actually aimed. Especially useful for the orders where the higher orders where the specular wasn't visible. This estimates by saying the actual angle is the nominal one minus the mean offset of the machine.

These are some verifications, to see if the position of the peaks computed with D and y of h=0 is the same
as the actual peak seen on the tiff.
y_h th	216.0	170.6	170.9	171.5	125.6	123.7	263.0	308.2	331.2	423.1	422.5	489.6	535.1
y_h ex	216.2	171.2	171.5	172.2	126.8	125.2	263.4		308.8	400.4	399.9	489.7	536.2
y_{h+1} th	261.8	216.3	216.6	217.2	171.2	169.3	308.9	354.0	377.0	469.4	468.7	535.9	582.0
y_{h+1} ex	261.9	216.6	216.9	217.5	171.7	169.8	309.1		354.2	446-449-453	438-441-446	537.0	583.2
y_{h+2} th	307.6	262.0	262.4	262.9	216.7	214.8	354.9	400.1	423.0	515.9	515.1	582.5	629.2
y_{h+2} ex	308.1	262.4	262.7	263.3	217.2	215.3	354.0		400.6	493.2	492.4	583.5	628.5
θh th	1.553	1.036	1.037	1.035	0.517	0.517	2.071	2.582	2.831	3.867	3.859	4.608	5.148
θh actual	1.555	1.043	1.044	1.043	0.530	0.534	2.075		2.577	3.611	3.604	4.604	5.153
θh+1 th	2.071	1.554	1.555	1.553	1.034	1.034	2.589	3.098	3.346	4.384	4.374	5.121	5.665
θh+! actual	2.072	1.558	1.559	1.557	1.040	1.040	2.590		3.088	#VALUE!	#VALUE!	5.126	5.669
θh+2 th	2.589	2.072	2.074	2.071	1.551	1.551	3.107	3.616	3.861	4.901	4.890	5.635	6.182
θh+2 actual	2.594	2.076	2.077	2.075	1.556	1.556	3.096		3.608	4.644	4.633	5.636	6.162
diff θh [deg]	-0.002	-0.007	-0.007	-0.008	-0.013	-0.017	-0.004		0.254	0.256	0.255	0.003	-0.005
diff θh+1 [deg]	-0.001	-0.004	-0.004	-0.003	-0.006	-0.006	-0.002		0.258	#VALUE!	#VALUE!	-0.006	-0.004
diff θh+2 [deg]	-0.004	-0.004	-0.003	-0.004	-0.005	-0.005	0.012		0.253	0.257	0.257	-0.002	0.020

computation of the slope R/R0 = 1+b θmis
using gel40-42, which aim for θ3+1/2

θh+1/2	-0.046	-0.043	0.042
R23	3.3199	3.2352	2.5802

slope	-8.08
y intercept	2.92	this is our R23(θmis2=0)
norm slope	-2.77
other slopes	S1	-3.63	S3/2	-3.43		such that Rh,h+2(θmis)= Rh,h+2(θmis=0)*(1+S1*θmis) and Rh,h+3(θmis)= Rh,h+3(θmis=0)*(1+S3/2*θmis) explained in “Analysis of Specular Mismatch for Small Angles JN 11/8/17”

tiff nb	39	45	46	47	48	49	50	51	51	52	52		48,49	51,52	51,52
Ra,b(θmis2)	0.8366280628	11.36546	9.5182352	1.7288	0.9108160174	0.9894355251	41.1851326255	1.8675	4.0605	1.2783	3.522		0.96924	1.401	3.741282		This line is the ratios measured on tiffs (reported in journal.txt)
θmis2	-0.0443941452	-0.0238208377	-0.0360016589	0.012	0.005	0.014	0.046	0.024	0.024	0.0468639	0.047		0.0091186764	0.0353257196	0.0353257196		This line is the angle of how much the specular was off from the desired point at half the angle between the 2 orders (computed above).
Ra,b(θmis2=0)	0.75	10.66	8.66	1.81	0.93	1.04	47.20	2.00	4.45	1.47	4.24		1.00	1.55	4.29
a	3	4	5	5	7	7	9	10	9	10	9		7	10	9
b	4	5	6	7	9	9	10	11	12	11	12		9	11	12
									red not used anymore				using R7,9=(I7,48+I7,49)/(I9,48+I9,49) and so on
													using the average mismatch
q [Å] h=a	0.311	0.414	0.516	0.515			0.921						0.721	1.027	0.924
q [Å] h=b	0.414	0.518	0.620	0.721			1.023						0.927	1.129	1.232		These lines are for the samplists with only 2 orders (sheet 4).
err=c*sqrt(Rab)	0.011	0.042	0.037	0.017			0.087						0.013	0.016	0.026

NO ROTATION
h	q [Å]	Ih/I3	err Ih/I3		tiff #	D [Å]
1					39	60.65
2	0.207	2.92E+00			40	60.62
3	0.311	1.00E+00	0.00E+00		41	60.57
4	0.415	1.34E+00			42	60.65
5	0.518	1.26E-01			45	60.66
6	0.621	1.45E-02			46	60.83
7	0.725	6.96E-02			47	61.03		For the samplist containing all orders measured with fixed rotations.
8		0.00E+00			48	60.94
9	0.930	6.95E-02			49	61.07
10	1.033	1.47E-03			50	61.40
11	1.135	9.48E-04			51	61.07
12	1.238	1.62E-02			52	61.33

## Sheet2
ROTATION INTENSITIES
	h	1	2	3	4	5	6	7	8	9	10	11	12
tiff nb	D [Å]	I1	I2	I3	I4	I5	I6	I7	I8	I9	I10	I11	I12
31	60.52			6.81E+05	9.01E+05	1.04E+05	1.16E+04	6.85E+04		9.63E+04	3.94E+03	4.31E+03	2.65E+04
32	60.58			4.58E+05	6.21E+05	6.46E+04	9.15E+03	4.11E+04	1.83E+03	5.92E+04		2.85E+03	1.24E+04
33	60.58		5.51E+05	2.34E+05	3.05E+05	3.40E+04	5.05E+03	2.08E+04		3.32E+04			3.35E+03
37	60.61		2.65E+05	1.17E+05	1.80E+05	1.88E+04	1.59E+03	1.29E+04		1.99E+04
38	60.59	6.43E+05	1.24E+05	5.72E+04	8.27E+04	7.71E+03	1.42E+03	5.16E+03		5.61E+03	5.74E+02
	q [Å]	0.104	0.207	0.311	0.415	0.519	0.622	0.726	0.830	0.934	1.037	1.141	1.245
	Ih/I3	1.12E+01	2.30E+00	1.00E+00	1.35E+00	1.48E-01	1.86E-02	9.59E-02	4.00E-03	1.38E-01	6.11E-03	6.28E-03	3.07E-02
	error Ih/I3	0.0E+00	3.9E-02	0.0E+00	2.0E-02	3.1E-03	1.0E-03	3.1E-03	0.0E+00	4.1E-03	4.3E-04	3.8E-05	5.1E-03
	rel err	0.000	0.017	0.000	0.015	0.021	0.054	0.033	0.000	0.030	0.070	0.006	0.165

For the computation and error computation see : “Averaging Ratios of Intensities” document.
The intensities were obtained using the “Light Background Integration” in the “Integration Methods” document.

tiff nb	D [Å]	I1	I2	I3	I4	I5	I6	I7	I8	I9	I10	I11	I12
54	61.34					2.50E+06			4.86E+05
	q [Å]	0.102	0.205	0.307	0.410	0.512	0.615	0.717	0.819	0.922	1.024	1.127	1.229
	Ih/I3					1.00E+00			1.94E-01
	rel err					0.100			0.019	I put 10% error

## Sheet3
Summaries p.37 for small D from sheet 2					Don't use these fixed angle in this form

ROTATIONS					FIXED ANGLES					Rot / Fixed
Ih/I3	q [Å]	err Ih/I3	rel err	F	G	h	tif #	Ih/I3	q [Å]	err Ih/I3	rel err	N
11.25	0.104	0.0	0.0%		0.0426	1		0.00	0	0.0	0.0%	0.0000	#DIV/0!
2.30	0.207	0.039	1.7%	0.0258	0.0193	2	40-42	2.92	0.207	0.0	0.0%	0.0217	0.79
1.00	0.311	0.000	0.0%		0.0127	3	pivot	1.00	0.311	0.0	0.0%	0.0127	1.00
1.35	0.415	0.020	1.5%	0.0171	0.0148	4	39	1.34	0.415	0.0	0.0%	0.0147	1.01
0.148	0.519	0.0031	2.1%	0.0080	0.0049	5	45	0.126	0.518	0.0	0.0%	0.0045	1.17
0.0186	0.622	0.0010	5.4%	0.0074	0.0017	6	46	0.0145	0.621	0.0	0.0%	0.0015	1.28
0.0959	0.726	0.0031	3.3%	0.0102	0.0039	7	47	0.0696	0.725	0.0	0.0%	0.0034	1.38
0.0040	0.830	0.0000	0.0%		0.0008	8		0.0000	0.000	0.0	0.0%	0.0000	#DIV/0!
0.1384	0.934	0.0041	3.0%	0.0110	0.0047	9	48,49	0.0695	0.930	0.0	0.0%	0.0034	1.99
0.0061	1.037	0.0004	7.0%	0.0055	0.0010	10	50	0.0015	1.033	0.0	0.0%	0.0005	4.15
0.0063	1.141	0.00004	0.6%	0.0005	0.0010	11	51,52	0.0009	1.135	0.0	0.0%	0.0004	6.62
0.0307	1.245	0.0051	16.5%	0.0290	0.0022	12	51,52	0.0162	1.238	0.0	0.0%	0.0016	1.90
Column F is err/sqrt(I)
Column G & N is c*sqrt(I)			average c	0.0127147964
Verification whether the errors are proportional to sqrt(I) (with proportionality constant c)
Plot is h vs F – no systematic linear trend

## Sheet4
	Rot gel31-33,37,38			Fixed gel39-52			Rot gel57-59,61-63,67-72			Fixed gel76,78,80,81,85,88,99			Fixed gel39			Fixed gel40-42			Fixed gel45			Fixed gel46			Fixed gel47			Fixed gel48,49			Fixed gel50			Fixed gel51,52			Fixed gel51,52			Fixed gel76			Fixed gel78			Fixed gel78			Fixed gel80			Fixed gel81			Fixed gel85,88			Fixed gel89
h	Ih/I3	q [Å]	err Ih/I3	Ih/I3	q [Å]	err Ih/I3	Ih/I11	q [Å]	err Ih/I11	Ih/I7	q [Å]	err Ih/I7	Ih/I4	q [Å]	err Ih/I4	Ih/I3	q [Å]	err Ih/I3	Ih/I5	q [Å]	err Ih/I5	Ih/I6	q [Å]	err Ih/I6	Ih/I7	q [Å]	err Ih/I7	Ih/I9	q [Å]	err Ih/I9	Ih/I10	q [Å]	err Ih/I10	Ih/I11	q [Å]	err Ih/I11	Ih/I12	q [Å]	err Ih/I12	Ih/I11	q [Å]	err Ih/I11	Ih/I12	q [Å]	err Ih/I12	Ih/I12	q [Å]	err Ih/I12	Ih/I10	q [Å]	err Ih/I10	Ih/I10	q [Å]	err Ih/I10	Ih/I10	q [Å]	err Ih/I10	Ih/I10	q [Å]	err Ih/I10
1	11.25	0.104	0.0426				102.78	0.100	0
2	2.30	0.207	0.0193	2.92	0.207	0.0217	28.90	0.201	2.0131							2.92	0.207	0.022
3	1.00	0.311	0.0127	1.00	0.311	0.0127	8.22	0.301	0.4072				0.75	0.311	0.011	1.00	0.311	0.013
4	1.35	0.415	0.0148	1.34	0.415	0.0147	6.41	0.401	0.17	7.713	0.399	0.035	1.00	0.414	0.013				10.66	0.414	0.042																																					2.86	0.398	0.022
5	0.148	0.519	0.0049	0.126	0.518	0.0045	2.38	0.503	0.0918	2.693	0.500	0.021							1.00	0.518	0.013	8.66	0.516	0.037	1.81	0.515	0.017																												2.69	0.500	0.021	1.00	0.497	0.013
6	0.0186	0.622	0.0017	0.0145	0.621	0.0015	0.0521	0.604	0.0047													1.00	0.620	0.013
7	0.0959	0.726	0.0039	0.0696	0.725	0.0034	1	0.704	0	1.000	0.700	0.013													1.00	0.721	0.013	1.00	0.721	0.013																						1.91	0.702	0.018	1.00	0.700	0.013
8	0.0040	0.830	0.0008	0.0000	0.000	0.0000	0	0.805	0
9	0.1384	0.934	0.0047	0.0695	0.930	0.0034	0.5909	0.905	0.0263	0.523	0.902	0.0092																1.00	0.927	0.013	47.20	0.921	0.087				4.29	0.924	0.026										4.37	0.902	0.027	1.00	0.902	0.013
10	0.0061	1.037	0.0010	0.00147	1.033	0.00049	0.2146	1.006	0.013	0.1198	1.003	0.0044																			1.00	1.023	0.013	1.55	1.027	0.016				4.68	1.000	0.028				5.88	1.001	0.031	1.00	1.003	0.013
11	0.0063	1.141	0.0010	0.000948	1.135	0.00039	0.0490	1.107	0.0043	0.0256	1.102	0.0020																						1.00	1.129	0.013				1.00	1.100	0.013	0.49	1.101	0.009
12	0.0307	1.245	0.0022	0.0162	1.238	0.0016	0.1598	1.208	0.0054	0.0519	1.202	0.0029																									1.00	1.232	0.013				1.00	1.201	0.013
13							0.0443	1.308	0.0083	0.0204	1.302	0.0018																																		1.00	1.301	0.013

## Sheet5
ROTATION INTENSITIES
	h	1	2	3	4	5	6	7	8	9	10	11	12	13		Individual ratios
tiff nb	D [Å]	I1	I2	I3	I4	I5	I6	I7	I8	I9	I10	I11	I12	I13		I1/I7	I2/I7	I3/I7	I4/I7	I5/I7	I6/I7	I7/I7	I8/I7	I9/I7	I10/I7	I11/I7	I12/I7	I13/I7
55	61.44			1.04E+06	1.52E+06	2.20E+05	2.81E+04	1.17E+05		1.65E+05	8.44E+03				has rad dam			8.89	12.98	1.88	0.24	1.00		1.41	0.07
56	63.10			8.53E+05	9.34E+05	3.55E+05		1.36E+05		9.56E+04					has rad dam			6.26	6.86	2.60		1.00		0.70
57	61.90					8.82E+05	2.55E+04	4.36E+05		3.31E+05	7.76E+04	2.24E+04	7.15E+04	2.35E+04					2.02	0.06	1.00		0.76	0.178	0.051	0.164	0.054
58	62.10					9.47E+05	2.81E+04	4.75E+05		3.36E+05	7.85E+04	1.59E+04	7.94E+04	1.74E+04					1.99	0.06	1.00		0.71	0.165	0.033	0.167	0.037
59	62.66					1.12E+06	2.12E+04	4.67E+05		2.73E+05	1.07E+05	2.13E+04	7.49E+04	1.78E+04					2.40	0.05	1.00		0.58	0.230	0.046	0.161	0.038
61	62.64				2.69E+06	1.05E+06	2.00E+04	4.48E+05		2.62E+05	9.79E+04	1.57E+04	8.80E+04	1.93E+04					6.00	2.34	0.04	1.00		0.58	0.219	0.035	0.197	0.043
62	62.73				2.48E+06	9.00E+05	2.76E+04	4.00E+05		2.40E+05	7.47E+04	2.31E+04	5.71E+04	1.50E+04					6.19	2.25	0.07	1.00		0.60	0.187	0.058	0.143	0.038
63	62.30					1.08E+06	4.03E+04	4.91E+05		2.68E+05	9.61E+04	1.83E+04	6.13E+04	4.92E+04					2.20	0.08	1.00		0.54	0.196	0.037	0.125	0.100
67	62.65	2.08E+05	8.33E+04	2.91E+04	2.44E+04	9.01E+03		2.02E+03					102.78	41.22	14.41	12.09	4.46		1.00
68	62.53		4.22E+05	1.51E+05	1.32E+05	4.66E+04	1.62E+03	1.55E+04		1.36E+04	3.74E+03					27.29	9.77	8.53	3.01	0.10	1.00		0.88	0.242
69	62.57			7.37E+05	6.46E+05	2.34E+05	4.13E+03	9.41E+04		4.99E+04	1.96E+04	5.77E+03	1.24E+04	7.11E+03				7.83	6.87	2.49	0.04	1.00		0.53	0.209	0.061	0.132	0.076
70	62.49				1.90E+06	7.14E+05	1.25E+04	2.75E+05		1.51E+05	5.32E+04	1.32E+04	4.21E+04	1.89E+04					6.93	2.60	0.05	1.00		0.55	0.194	0.048	0.153	0.069
71	62.61				1.82E+06	7.12E+05	7.13E+03	2.78E+05		1.51E+05	6.50E+04	1.30E+04	4.74E+04	6.96E+03					6.55	2.56	0.03	1.00		0.54	0.234	0.047	0.171	0.025
72	62.31					3.60E+06	5.95E+04	1.37E+06		7.31E+05	3.46E+05	8.35E+04	2.22E+05	3.48E+04					2.62	0.04	1.00		0.53	0.252	0.061	0.162	0.025
73	61.60					6.83E+05	1.36E+05	4.16E+05	5.72E+04
74	62.18					7.84E+05	2.10E+05	5.95E+05	9.99E+04

	q [Å]	0.100	0.201	0.301	0.401	0.503	0.604	0.704	0.805	0.905	1.006	1.107	1.208	1.308
	Ih/I7	102.779	28.898	8.222	6.409	2.375	0.052	1.000		0.591	0.215	0.049	0.160	0.044	Using 7 as a pivot is not ideal for the higher orders.
	error Ih/I7	0.000	2.013	0.407	0.170	0.092	0.005	0.000		0.026	0.013	0.004	0.005	0.008	Computed on matlab program “averages.m”.
	rel err	0.000

For the computation and error computation see : “Averaging Ratios of Intensities” document.
The intensities were obtained using the “Light Background Integration” in the “Integration Methods” document.

## Sheet6
tiff num	76	77	78	78	80	81	85	88	89	λ [Å]	1.096
D	62.82		62.79	62.79	62.66	62.69	62.83	62.90	63.19	S1 [mm]	179.3
a	10	11	11	10	9	7	5	5	4	px [mm]	0.07113
b	11	12	12	13	10	9	7	7	5
θ(a+b)/2 th [deg]	5.26		5.76	5.76	4.77	4.01	3.00	3.00	2.24			Theoretical angle.
y of h=0	81.8		81.5	81.5	81.9	77.5	79.9	80.1	82.1			Pixel height of the “zeroth order”.
y(a+b)/2 th	549.5		595.3	595.3	505.1	432.7	344.8	344.8	279.3			Theoretical pixel height of (a+b)/2 angle.
y(a+b)/2 low	555.0		595.0	595.0	509.0	429.0	335.0	337.0	274.0			Lower estimate of the specular on the tiff.
y(a+b)/2	556.0		597.0	597.0	511.5	435.0	339.5	341.0	276.1			Best estimate of the specular on the tiff.
y(a+b)/2 high	557.0		599.0	599.0	514.0	442.0	345.0	344.0	278.0			Higher estimate of the specular on the tiff.
θactual [deg]	5.33		5.78	5.78	4.84	4.04	2.94	2.95	2.20			Best estimate of the angle of the specular on the tiff.
θmis [deg]	0.072		0.019	0.019	0.071	0.026	-0.059	-0.042	-0.036			This difference between the measured and theoretical midpoint (a+b)/2.
θnom [deg]	5.36		5.87	5.87	4.85	4.09	3	3	unknown			Nominal angle given to rotation instrument.
θnom – θactual	0.033		0.091	0.091	0.014	0.054	0.060	0.046		0.050	θ offset	This offset is the same as is sheet 1!
θmis 2 [deg]	0.055		0.060	0.060	0.035	0.030	-0.049	-0.046				Estimated angular difference. Not useful here since the specular is visible on the tiffs.

Ra,b(θmis)	3.752		0.468	5.479	3.515	1.733	3.190		3.147			Ratio of intensities as measured on the tiffs.
Ra,b(θmis=0)	4.68		0.49	5.88	4.37	1.91	2.69		2.86			Corrected ratio using the slope computed on sheet 1.
							using R5,7=(I5,85+I5,88)/(I7,85+I7,88)
							using the average mismatch
q [Å] h=a	1.000		1.101	1.001	0.902	0.702	0.500		0.398
q [Å] h=b	1.100		1.201	1.301	1.003	0.902	0.700	0.699	0.497			Lines useful for the samplists containing only two orders.
err=c*sqrt(Rab)	0.028		0.009	0.031	0.027	0.018	0.021		0.022
							using average D

h	Ih/I7	q [Å]	err Ih/I7
1
2
3
4	7.713	0.399	0.035
5	2.693	0.500	0.021
6
7	1.000	0.700	0.013		For the samplist containing all orders measured with fixed rotations.
8
9	0.523	0.902	0.009
10	0.120	1.003	0.004
11	0.026	1.102	0.002
12	0.052	1.202	0.003
13	0.020	1.302	0.002